xoExam™ UI/UX — Engineering Handoff Specification

v0.2.6 · June 2, 2026 · Wavefront Refraction

Method Marketing Agency for Xenon Ophthalmics Inc.

1. What changed in v0.2.6 — accurate change log

This reissue captures the Wavefront Refraction test, added as a new parallel test. It supersedes v0.2.5. All sixteen sections of the prior spec remain authoritative unless updated below.

| Area | v0.2.5 | v0.2.6 |
| --- | --- | --- |
| Tests at clinical fidelity | 6 of 19 | 7 of 19 (Wavefront Refraction added) |
| Component count in components/ | 25 | 26 (Wavefront Refraction added; Aberrometry retained) |
| Per-test specs in briefs/ | 6 | 7 (+ Wavefront Refraction) |
| Newest engineering integration item | Pupillometry firmware questions | Certify & close as Rx-release system event (gates downstream xoFit job) |

Files touched in v0.2.6

| File | Change |
| --- | --- |
| components/WavefrontRefractionTest.jsx | Added — 1381 lines, all top-level identifiers WFR_-prefixed. The new two-stage refraction test. |
| components/WavefrontAberrometryTest.jsx | Unchanged / retained. Wavefront Refraction supersedes it but does NOT replace it — both remain in the catalog per CD direction. |
| components/VisualAcuityTest.jsx | Edited — geometric Tumbling E (Snellen E) and Tumbling C (Landolt ring) optotypes added via VA_Optotype; Tumbling C added as a 4th chart type. Same optotype shape is shared with the Wavefront Refraction subjective phoropter stage. |
| components/TestSelection.jsx | Edited — catalog entry added (id: wavefront-refraction, Refraction category). |
| index.html | Edited — WavefrontRefractionTest.jsx script include added; routing case 'wavefront-refraction' added; title bumped to v0.2.6. |
| briefs/WavefrontRefraction_Clinical_Spec_v1.md | Added — authoritative clinical spec for the new test. |
| CLAUDE.md · README.md | Updated — version log, component index, test-stream table, status. |

This program is in active, versioned development. Each release brings one or more tests to clinical fidelity and reissues this doc set with the precise changelog above. The remaining 12 tests in the catalog are visual-fidelity placeholders awaiting their own clinical rebuilds; prioritization is set with the clinical evaluation team.

2. Engineering quick start (unchanged from v0.2.1)

•  Stack: React 18.3.1 + Babel Standalone 7.29.0 via CDN. No build toolchain. index.html is the single entry point.

•  Open `index.html` directly in a modern browser (Chrome / Edge recommended). The prototype renders immediately — no server, no install, no build.

•  Production target: React Native + Kotlin Android tablet. The .jsx source is structured for mechanical port — inline styles, hooks-only, no exotic dependencies. See the v0.2.1 spec §10 for the full RN portability table.

3. ExamShell Component Interface Contract (unchanged)

Every test component must conform to this contract exactly. Wavefront Refraction is the seventh test built against it.

function [TestName]({ onBack, tweaks }) {

const accent = tweaks?.accentColor || '#1f8eff';

// ...

return (

<ExamShell

title="[Test name — sentence case]"

accent={accent}

onBack={onBack}

patientName={patientName}

patientId={patientId}

phase={phase}

elapsed={elapsed}

onBegin={startTest}

onFinish={() => setPhase('report')}

onNewTest={resetTest}

rightPanel={phase === 'testing' ? <RightSidebar /> : null}

>

{phase === 'ready'   && renderReady()}

{phase === 'testing' && renderTesting()}

{phase === 'report'  && renderReport()}

</ExamShell>

);

}

Object.assign(window, { [TestName] });

ExamShell owns the canonical Cancel UX: back arrow hidden during testing, labeled red "Cancel test" button takes over, opens confirm modal. Test components MUST NOT build their own cancel dialogs.

For tests with sub-stage state machines inside the testing phase (EOM, Pupillometry, and now Wavefront Refraction's objective→subjective sequence), finishAvailable() is the local helper that gates ExamShell's green "Finish & Report" button — only at the last enabled sub-step's completion state.

4. Wavefront Refraction — engineering-specific integration touchpoints

The clinical spec (briefs/WavefrontRefraction_Clinical_Spec_v1.md) is the authoritative source. Engineering touchpoints specific to this test:

4.1 Certify & close is a SYSTEM EVENT — the most consequential integration point in the suite

Wavefront Refraction produces the verified prescription (Rx) — the combined output of the objective wavefront capture and the subjective phoropter refinement. Its "Certify & close" action is not a UI-only state change. It is the certification event that releases the Rx to the downstream xoFit fitting/finishing job object.

•  The prototype surfaces this as a button with a "Doctor sign-off · releases Rx to job object" sub-label.

•  MPR must wire Certify & close to emit the Rx-release event to the job/order pipeline. Until certified, the Rx is not released downstream.

•  This couples to the role/permissions model (kickoff agenda item 5): only an authorized doctor identity may certify.

4.2 Two-stage capture model

| Stage | UI phase | Behavior | Hardware contract |
| --- | --- | --- | --- |
| Objective | ExamShell testing (sub-stage objective) | Monocular wavefront capture, OD then OS. Live eye-scan look — dark viewer, breathing pupil, accent sweep line, rotating centering ring, red alignment dot that turns the backdrop green on lock. Sub-stages init → calibrating → capturing → complete. | Liquid-lens / eye-tracking capability drives readiness panel values and green-lock timing — engineer confirmation needed. Per-eye scan count (1–3) documents reliability; the wavefront retries on movement/blink and averages. |
| Subjective | ExamShell testing (sub-stage subjective) | Liquid-lens digital phoropter. Step sequence per eye setup → sphere (MPMVA) → jcc-axis → jcc-power → [mpmva2*] → add. | Liquid-lens power presentation per step; optotype rendering on the patient chart. |

mpmva2 (second MPMVA) auto-triggers only if cyl changed ≥ 0.50 D or axis changed ≥ 10° from objective.

4.3 Clinical non-negotiables enforced in the UI (preserve on port)

•  Axis before power (JCC). Enforced by step order — jcc-axis always precedes jcc-power. The UI cannot reach power refinement before axis is confirmed.

•  Fogging control. After objective capture a fog prompt offers +0.75 D with clinical explanation; starting MPMVA sphere = objective sphere + fog. Doctor may skip.

•  Sphere compensation note visible during cylinder power: "For each −0.50 D CYL added, add +0.25 D SPH to maintain the circle of least confusion."

•  Rx format discipline. SPH/CYL always signed + 2 dp; AXIS integer + °; ADD signed with D or "—". Helpers: WFR_fmtSph / WFR_fmtCyl / WFR_fmtAxis / WFR_fmtAdd.

•  Monocular objective. No OU averaging. Sequence OD → OS automatically via breadcrumb + transition modal.

•  No clinical claims in the report. Deliberate divergence from the other clinical-fidelity tests: NO Patient Classification banner, NO interpretive language. A refraction is a measurement-and-verification workflow, not a screening. The Clinical Summary states data only (scan counts, completion, "Final Rx pending clinician certification").

4.4 Data persistence schema additions

Wavefront Refraction adds this per-test results object (see v0.2.1 §6 for the cross-test schema):

{

testId: 'wavefront-refraction',

mode: 'full',                  // 'full' (objective→subjective) | 'subjective-only'

eyesTested: ['OD', 'OS'],

objective: {

OD: { sph:-1.25, cyl:-0.50, axis:165, pupilSize:6.2, analysisDia:6.0, scans:2,

rmsHOA:0.261, comaRMS:0.163, sphAb:0.087 },

OS: { /* same shape */ }

},

fogApplied: 0.75,              // D, or 0 if skipped

subjective: {

OD: { sph:-1.00, cyl:-0.50, axis:165, add:0, bcva:'20/20', jccPower:0.50 },

OS: { /* same shape */ }

},

finalRx: {

OD: { sph:-1.00, cyl:-0.50, axis:165, add:0 },

OS: { /* same shape */ }

},

notes: 'Free-text session notes',

certifiedBy: '<doctor-id>',    // populated at Certify & close — Rx-release event

certifiedAt: '<ISO timestamp>'

}

4.5 Pure-function port targets

•  WFR_fmtSph / WFR_fmtCyl / WFR_fmtAxis / WFR_fmtAdd — Rx format discipline

•  WFR_lineIsPassed(correct, total) — VA pass/fail threshold (see open item 4.6.1)

•  WFR_getBestVA(...) — additive VA notation (e.g. 20/25 +4)

•  WFR_Optotype — geometric Tumbling E / Landolt C renderer (shared with Visual Acuity)

4.6 Open items / TBD for the engineering kickoff

•  VA pass/fail threshold (WFR_lineIsPassed) currently "more than half correct." Gary to validate against a published standard before lock.

•  Certify & close → system event wiring (§4.1) — MPR to implement as the Rx-release trigger to the xoFit job object.

•  Patient-facing headset view is out of scope. This component is the tablet (technician/doctor) view only. The patient-facing headset/clicker experience (objective self-administered mode) is separate scope to define with MPR.

•  Objective readiness panel values + green-lock timing depend on liquid-lens / eye-tracking capability (engineer confirmation).

5. Open decisions — engineering kickoff agenda (cumulative, v0.2.6)

The cumulative list from v0.2.5 stands. New items added by Wavefront Refraction are flagged [R]:

•  Hardware-to-UI event contract (cross-test) — what events the headset fires, what payload, what the UI subscribes to

•  Per-test data persistence schema — final shape across all clinical-fidelity tests

•  Authentication model — login, session, doctor identity

•  Export mechanism — PDF generation, EHR forwarding, cloud sync

•  Role-based permissions — Doctor sign-off as a gate, not just a label

•  Patient identity confirmation step — currently assumed pre-test

•  Compliance scope — HIPAA, MDR class, FDA 510(k) path

8–14. Pupillometry firmware/clinical questions (v0.2.5 §4.1 — items 8–14)

•  [R] Certify & close → Rx-release system event wiring to the xoFit job object (§4.1)

•  [R] VA pass/fail threshold validation for the subjective stage (§4.6.1)

•  [R] Patient-facing headset/clicker view scope for objective self-administered mode (§4.6.3)

•  [R] Liquid-lens / eye-tracking capability for objective readiness + green-lock timing (§4.6.4)

6. Regulatory acknowledgment (unchanged)

The xoExam UI/UX prototype is not a medical device and has not been cleared by FDA, MDR, or any other regulatory body. The clinical-accuracy work in briefs/ and in the Clinical Standards Reference is a transparency document — a description of what the design adheres to — not a clinical validation report or regulatory submission. Production clinical validation is an engineering and regulatory responsibility outside Method's scope.

Note specific to Wavefront Refraction: the report deliberately makes no clinical claims — no determinations, assessments, or recommendations. This is by design: a refraction is a measurement-and-verification workflow, not a screening. The verified Rx is a measured output for clinician certification, not a diagnostic finding.

The same calibration assumption applies as for all tests: the prototype assumes the production headset delivers calibrated stimulus presentation, accurate liquid-lens power, valid wavefront measurement, and consistent conditions. Whether it does is a hardware question outside the UI/UX layer.

7. Per-test specs (current)

The product version is unified. The entire xoExam UI/UX ships as one build — currently v0.2.6. The right-hand column records *when each test last reached clinical fidelity* (the release it was last meaningfully updated in), not a separate version number for that test. A test showing an earlier release is correct and unchanged since then, not behind.

| # | Test | Spec file in `briefs/` | Reached clinical fidelity in |
| --- | --- | --- | --- |
| 1 | Visual Acuity | VisualAcuity_Clinical_Spec_v2.md | v0.2.3 (Tumbling E/C added v0.2.6) |
| 2 | Color Vision | (in CLAUDE.md + Clinical Standards Reference §2) | v0.1.7 |
| 3 | Visual Fields | VisualField_Clinical_Spec_v2.md | v0.1.8 |
| 4 | Wavefront Aberrometry | WavefrontAberrometry_Clinical_Spec_v2.md | v0.1.9 |
| 5 | Extraocular Motility | ExtraocularMotility_Clinical_Spec_v2.md | v0.2.1 |
| 6 | Pupillometry | Pupillometry_Clinical_Spec_v2.md | v0.2.5 |
| 7 | Wavefront Refraction | WavefrontRefraction_Clinical_Spec_v1.md | v0.2.6 |

The remaining 12 tests are visual-fidelity placeholders. Specs are written as each one is brought to clinical fidelity.

8. Document set issued at v0.2.6

| Document | Status |
| --- | --- |
| xoExam UI-UX Engineering Handoff Specification v0.2.6.docx | This document — supersedes v0.2.5 |
| xoExam Development Brief 06-02-2026 v0.2.6.docx | New per-release brief |
| xoExam Development Brief.docx (cumulative) | v0.2.6 entry appended |
| briefs/WavefrontRefraction_Clinical_Spec_v1.md | Authoritative clinical spec for Wavefront Refraction |
| xoExam Clinical Standards Reference v0.2.6.docx / .md | Reissued at v0.2.6 — Wavefront Refraction §7 added, scope table updated |
| xoExam Clinical Evaluation Brief.docx / .md | Reissued at v0.2.6 — Wavefront Refraction §7 added, panel-evaluation prompts |
| CLAUDE.md | v0.2.6 entry appended; component index + test-stream table updated; naming conventions codified (rules 13–14) |
| README.md | Status bumped to v0.2.6 |
| _dist_v0.2.6/ | Deployment package |

16. Version history

| Spec version | Date | Trigger |
| --- | --- | --- |
| v0.1.8 | May 18, 2026 | Visual Fields clinical fidelity + first formal handoff issue |
| v0.1.9 | May 21, 2026 | Wavefront Aberrometry clinical fidelity + Doctor sign-off pattern introduced |
| v0.2.1 | May 22, 2026 | Extraocular Motility clinical fidelity + naming convention sweep |
| v0.2.5 | May 22, 2026 | Pupillometry clinical fidelity |
| v0.2.6 | June 2, 2026 | Wavefront Refraction — new two-stage refraction test; Certify & close as Rx-release system event |

Older versioned specs are retained in the repository so spec evolution is traceable for MPR / regulatory audit.

*Method Marketing Agency · xoExam UI/UX Engineering Handoff Specification · v0.2.6 · June 2, 2026*